## ScenarioInfo
Scenario | Productive_uses_demand | Target_electricity_consumption_level | Grid_connection_cap | Grid_electricity_generation_cost | PV_cost_adjust | Prioritization_algorithm
0 | 0 | 0 | 0 | 0 | 0 | 0

## ScenarioParameters
| PopEndYear | UrbanTargetTier | RuralTargetTier | 5YearTarget | FinalYearTarget | GridConnectionsLimitThousands | GridGenerationCost | PV_Cost_adjust | DieselPrice | ProductiveDemand | PrioritizationAlgorithm | AutoIntensificationKM
0 | 0 | 6 | 6 | 0.9999 | 1 | 9999 | 0.03504 | 1 | 10.16 | 0 | 5 | 0

## SpecsData
Country | CountryCode | StartYear | IntermediateYear | EndYEar | PopStartYear | UrbanRatioStartYear | UrbanCutOff | UrbanRatioModelled | PopEndYear | UrbanRatioEndYear | NumPeoplePerHHRural | NumPeoplePerHHUrban | GridCapacityInvestmentCost | GridLosses | BaseToPeak | ExistingGridCostRatio | MaxGridExtensionDist | NewGridGenerationCapacityAnnualLimitMW | ElecActual | Rural_elec_ratio | Urban_elec_ratio | ElecModelled | urban_elec_ratio_modelled | rural_elec_ratio_modelled | Diesel_Cost | GridCostLow | GridCostHigh | GridConnectionsLimitThousands | UrbanTierLow | UrbanTierHigh
Zambia | zm | 2020 | 2030 | 2060 | 19255577 | 0.4187 |  |  | 38337358.9 | 0.622 | 5.2 | 4.7 | 1441 | 0.183 | 0.8 | 0.1 | 50 | 368 | 0.45353 | 0.14 | 0.824 |  |  |  | 1.16 | 0.03504 | 0.03504 | 88.8984 | 4 | 5

## SpecsDataCalib
Country | CountryCode | StartYear | IntermediateYear | EndYEar | PopStartYear | UrbanRatioStartYear | UrbanCutOff | UrbanRatioModelled | PopEndYear | UrbanRatioEndYear | NumPeoplePerHHRural | NumPeoplePerHHUrban | GridCapacityInvestmentCost | GridLosses | BaseToPeak | ExistingGridCostRatio | MaxGridExtensionDist | NewGridGenerationCapacityAnnualLimitMW | ElecActual | Rural_elec_ratio | Urban_elec_ratio | ElecModelled | urban_elec_ratio_modelled | rural_elec_ratio_modelled | Diesel_Cost | GridCostLow | GridCostHigh | GridConnectionsLimitThousands | UrbanTierLow | UrbanTierHigh
Zambia | zm | 2020 | 2030 | 2060 | 19255577 | 0.4187 |  | 0.41828 | 38337358.9 | 0.622 | 5.2 | 4.7 | 1441 | 0.183 | 0.8 | 0.1 | 50 | 368 | 0.45353 | 0.14 | 0.824 | 0.45353 | 0.97276 | 0.080177 | 1.16 | 0.03504 | 0.03504 | 88.8984 | 4 | 5